## Slide 1: Air Force Institute of Technology
EDM as a Basis for an Intrusion Detection System
2d Lt David Crow
Dr. Scott Graham

## Slide 2: Overview
Motivation
Background & related work
Experimental data
Results
  Linear data
  Nonlinear data
Conclusions & future work

## Slide 3: Overview
Motivation
Background & related work
Experimental data
Results
  Linear data
  Nonlinear data
Conclusions & future work

## Slide 4: Motivation
Intrusion detection systems (IDSs) protect vulnerable cyber-physical systems (CPSs) and critical infrastructure.
This research contributes to IDS design.

## Slide 5: Motivation
IDS architects require the following:
Insight into the dynamics of a CPS, to include an understanding of the way in which some current state enables predictions concerning a future state
An ample quantity of data obtained under normal operating conditions to establish normal behavior
A process to determine whether new traffic conforms to normal behavior
An alert system to report to the administrator the traffic that does not conform

## Slide 6: Motivation
IDS architects require the following:
Insight into the dynamics of a CPS, to include an understanding of the way in which some current state enables predictions concerning a future state
An ample quantity of data obtained under normal operating conditions to establish normal behavior
A process to determine whether new traffic conforms to normal behavior
An alert system to report to the administrator the traffic that does not conform

## Slide 7: Overview
Motivation
Background & related work
Experimental data
Results
  Linear data
  Nonlinear data
Conclusions & future work

## Slide 8: Cyber-Physical Systems
“systems where the cyber parts … and the physical parts are tightly integrated, both at the design time and during operation” [1]
Difficult to replicate a CPS’s model ⟶ CPS monitoring
Output of CPS monitoring: time series data

## Slide 9: Time Series Data
“(a) Google stock price for 200 consecutive days; (b) Daily change in the Google stock price for 200 consecutive days; (c) Annual number of strikes in the US; (d) Monthly sales of new one-family houses sold in the US; (e) Annual price of a dozen eggs in the US (constant dollars); (f) Monthly total of pigs slaughtered in Victoria, Australia; (g) Annual total of lynx trapped in the McKenzie River district of north-west Canada; (h) Monthly Australian beer production; (i) Monthly Australian electricity production.” [2]

## Slide 10: Causality
Relationship between cause and effect
Difficult to measure/quantify
Approximate causality using statistical techniques

## Slide 11: Granger Causality
For two variables and :
does not precede in time
contains info that improves the prediction of
This info is not contained in any other series
Can’t deterministically confirm these ⟶ predict with
[3]

## Slide 12: Granger Causality
Utilize StatsModels’ grangercausalitytests [10]
Null hypothesis: “ does not Granger-cause ”
Reject null hypothesis if (on average)
Vary the parameter maxlag

## Slide 13: Empirical Dynamic Modeling
Panel A
Lorenz system manifold
Projection of dimension
Panel B
and two -lags of
Shadow manifold
and are diffeomorphic
[4,5]

## Slide 14: Empirical Dynamic Modeling
Convergent cross-mapping
Original manifold
Shadow manifolds ,
, , are diffeomorphic
Estimate nearest neighbors
[5,6]

## Slide 15: Empirical Dynamic Modeling
Suggested methodology [5]:
Conduct nearest neighbor forecasting via simplex projection to identify the embedding dimension which maximizes the prediction skill [11]
Use simplex projection and to determine whether the system exhibits deterministic chaos
Employ sequential locally weighted global linear maps (S-maps) to characterize any nonlinearity in the data [12]
Utilize convergent cross mapping (CCM) to evaluate predictive accuracy and quantify (estimate) causality [6]
Notes: In essence, “simplex projection is the process of iteratively selecting [a point] Yt in a shadow manifold and b other points whose histories over time t are most similar to the currently selected point ... A simplex is a generalization of a triangle or tetrahedron to an arbitrary number of dimensions” [11, 13, 14]. One then uses the weighted average of the future values of the b other points to make predictions about future values of Yt. The difference between these predictions and the actual future values gives a forecast skill ρ. By repeating this process with shadow manifolds of different dimensionalities, one can identify the embedding dimension E that optimizes ρ [15].
S-map projection is another iterative process, but it instead uses all neighboring points to create linear regression vectors. By aggregating these regression vectors, one approximates an n-dimensional spline. One then compares this spline to the shadow manifold attractor to measure ρ [12, 14, 15]. When generating the regression estimates, a nonlinear tuning parameter θ weights the neighbors with respect to their distance to the current focal point Yt. Finally, “if ρ is maximized when θ = 0, then the time series may be assumed to belong to a simple linear system instead of a dynamic system” [12, 13, 15].

## Slide 16: Related Work
Granger causality
Correlate/aggregate alerts to identify important alerts [7]
Determine variables which best predicts an attack [8]
Discover relevant variables prior to specific attack [9]
Empirical dynamic modeling
None!

## Slide 17: Overview
Motivation
Background & related work
Experimental data
Results
  Linear data
  Nonlinear data
Conclusions & future work

## Slide 18: Experimental Data: Linear

## Slide 19: Experimental Data: Nonlinear

## Slide 20: Overview
Motivation
Background & related work
Experimental data
Results
  Linear data
  Nonlinear data
Conclusions & future work

## Slide 21: Results: Linear, Granger

## Slide 22: Results: Linear, EDM

## Slide 23: Results: Linear, EDM

## Slide 24: Results: Linear, EDM

## Slide 25: Results: Linear, EDM

## Slide 26: Results: Linear, EDM
Time Series | Naive RMSE | EDM RMSE
Steering wheel angle | 0.009424 | 0.003351
Left wheel RPM | 0.005742 | 0.003893
Right wheel RPM | 0.005742 | 0.003893

## Slide 27: Results: Linear, EDM

## Slide 28: Results: Linear, EDM

## Slide 29: Overview
Motivation
Background & related work
Experimental data
Results
  Linear data
  Nonlinear data
Conclusions & future work

## Slide 30: Results: Nonlinear, Granger

## Slide 31: Results: Nonlinear, EDM

## Slide 32: Results: Nonlinear, EDM

## Slide 33: Results: Nonlinear, EDM

## Slide 34: Results: Nonlinear, EDM

## Slide 35: Results: Nonlinear, EDM
Time Series | Naive RMSE | EDM RMSE
Airspeed | 3.907005 | 0.070161
Altitude | 18.192201 | 0.001535
Pitch | 0.013749 | 0.019748

## Slide 36: Results: Nonlinear, EDM

## Slide 37: Results: Nonlinear, EDM

## Slide 38: Overview
Motivation
Background & related work
Experimental data
Results
Conclusions & future work

## Slide 39: Conclusions
Granger causality does not seem to enable effective IDSs
For linear systems, EDM is somewhat limited
For nonlinear systems, EDM may assist in IDS design
Notes: For linear and nonlinear systems, Granger causality’s limitations ensure that intrusion detection system (IDS) architects should search elsewhere for effective analysis techniques.
Although empirical dynamic modeling (EDM) can quantify behaviors present in linear systems, the results are often limited and so are not likely to aid in the development of IDSs.
For nonlinear systems, EDM is an easy-to-use suite of tools capable of evoking detailed insights that may assist in IDS design.

## Slide 40: Future Work
Address the remaining steps towards an IDS
  Obtain quality data
  Identify whether new traffic obeys expected behavior
  Create an administrator alert system
Explore other time series analysis techniques

## Slide 41: Summary
Motivation
Background & related work
Experimental data
Results
Conclusions & future work

## Slide 42: References
ACM Transactions on Cyber-Physical Systems, “Cyber-Physical Systems (TCPS): About,” 2018. [Online]. Available: https://tcps.acm.org/about.cfm [Accessed: 2019-05-31]
R. J. Hyndman and G. Athanasopoulos, Forecasting: Principles and Practice, 2nd ed. Melbourne, Australia: OTexts, 2018.
BiObserver, “Visualization of Granger causality,” 2014. [Online]. Available: https: //commons.wikimedia.org/wiki/File:GrangerCausalityIllustration.svg [Accessed: 2019-09-27]
Sugihara Lab: Quantitative Ecology and Data-Driven Theory, “Empirical Dynamic Modeling,” 2019. [Online]. Available: http://deepecoweb.ucsd.edu/ nonlinear-dynamics-research/edm/ [Accessed: 2019-05-31]
H. Ye, A. Clarke, E. Deyle, and G. Sugihara, “rEDM: An R package for Empirical Dynamic Modeling and Convergent Cross Mapping,” pp. 1–19, 2019. [Online]. Available: https://cran.r-project.org/web/packages/rEDM/vignettes/rEDM.html [Accessed: 2019- 12-12]
G. Sugihara, R. May, H. Ye, C.-h. Hsieh, E. Deyle, M. Fogarty, and S. Munch, “Detecting Causality in Complex Ecosystems,” Science, vol. 338, no. October, pp. 496–500, 2012.
X. Qin and W. Lee, “Statistical Causality Analysis of Infosec Alert Data,” in International Workshop on Recent Advances in Intrusion Detection. Springer Berlin Heidelberg, 2003, pp. 73–93.
J. B. Cabrera, L. Lewis, X. Qin, W. Lee, R. K. Prasanth, B. Ravichandran, and R. K. Mehra, “Proactive detection of distributed denial of service attacks using MIB traffic variables-a feasibility study,” 2001 7th IEEE/IFIP International Symposium on Integrated Network Management Proceedings: Integrated Management Strategies for the New Millennium, vol. 00, no. c, pp. 609–622, 2001.
J. B. Cabrera, L. Lewis, X. Qin, W. Lee, and R. K. Mehra, “Proactive Intrusion Detection and Distributed Denial of Service Attacks - A Case Study in Security Management,” Journal of Network and Systems Management, vol. 10, no. 2, pp. 225–254, 2002.
J. Perktold, S. Seabold, and J. Taylor, “StatsModels: Statistics in Python,” 2009.
G. Sugihara and R. May, “Nonlinear forecasting as a way of distinguishing chaos from measurement error in time series,” Nature, vol. 344, pp. 734–741, 1990.
G. Sugihara, “Nonlinear forecasting for the classification of natural time series,” Philosophical Transactions of the Royal Society: Mathematical, Physical and Engineering Sciences, vol. 348, no. 1688, 1994.

## Slide 43: Questions